## Comparison of WQPs
|  |  |  | Time of Data Collection |  |  | DO (mg/L) |  |  | pH (-) |  |  |  | Temperature (℃)
|  | Date (DOUBLE CLICK, and select date from dropdown calendar) | Morning or Evening Sampling Point (select from drop down menu) | ProDSS (time recorded by ProDSS) | Continuous Monitor Company #1, KS (time recorded by Continuous Monitor Company #1) | Continuous Monitor Company #2, AG (time recorded by Continuous Monitor Company #2) | ProDSS (copied from raw data downloaded from ProDSS) | Continuous Monitor Company #1 (copied from raw data downloaded from device) | Continuous Monitor Company #2 (copied from raw data downloaded from device) | ProDSS (copied from raw data downloaded from ProDSS) | pH Pen Adding pH pen as a quaility control step. After first few days, ProDSS seems lower than the 2x continuous monitors. | Continuous Monitor Company #1 (copied from raw data downloaded from device) | Continuous Monitor Company #2 (copied from raw data downloaded from device) | ProDSS (copied from raw data downloaded from ProDSS) | Continuous Monitor Company #1 (copied from raw data downloaded from device) | Continuous Monitor Company #2 (copied from raw data downloaded from device) | Cloud Cover at time of data collection | Probes Cleaned? |  | Any information that may be relevant?
| DAY | [16 empty] | Continuous Monitor Company #1 | Continuous Monitor Company #2 | Was the continuous monitor removed from the pond at any stage? Was a partial harvest conducted? Was any activity conducted that may have had an impact on water quality, or on the device?
| Sun | 2025-11-02 | Morning | 7:38 | 7:36 | 7:33 | 1.6 | 1.79 | 1.33 | 7.78 | NA | 8.05 | 8.02 | 29 | 29.1 | 30 | No cloud cover | No | No | Assigned to DP for the first week. Continuous Monitor Company #2 sensors cleaned by farm worker on 1st Nov.
| Sun | 2025-11-02 | Evening | 17:22 | 17:22 | 17:29 | 13.2 | 13.14 | 10.08 | 8.14 | NA | 8.33 | 8.28 | 30.9 | 31.02 | 33 | Slight (<10%) | No | No
| Mon | 2025-11-03 | Morning | 8:08 | 8:08 | 8:14 | 0.7 | 0.77 | 0.58 | 7.78 | NA | 8.03 | 7.99 | 29.7 | 29.75 | 31 | No cloud cover | No | No
| Mon | 2025-11-03 | Evening | 17:24 | 17:24 | 17:29 | 5.9 | 6.1 | 4.85 | 7.99 | NA | 8.18 | 8.15 | 31.3 | 31.47 | 33 | Some (<50%) | No | No | It was raining for around 2 hours in the afternnon. By the time we arrive at the pond, it was not.
| Tue | 2025-11-04 | Morning | 7:40 | 7:41 | 7:44 | 0.6 | 0.58 | 0.54 | 7.77 | NA | 7.98 | 7.95 | 29.9 | 30.5 | 31 | No cloud cover | No | No
CLEAN → | Tue | 2025-11-04 | Evening | 17:11 | 17:11 | 17:14 | 12.3 | 12.86 | 9.54 | 8.13 | NA | 8.33 | 8.29 | 32.3 | 32.61 | 34 | Slight (<10%) | Yes | Yes: by farm worker | Shadowed Continuous Monitor Company #2Pro technician at the time of cleaning
| Wed | 2025-11-05 | Morning | 7:42 | 7:43 | 7:42 | 0.9 | 0.75 | 0.68 | 7.78 | NA | 7.95 | 7.94 | 30.1 | 30.25 | 31.23 | No cloud cover | No | No
| Wed | 2025-11-05 | Evening | 17:55 | ? | 17:55 | 7.1 | ? | 4.7 | 7.9 | NA | ? | 8.09 | 31.2 | ? | 33 | No cloud cover | No | No | Data recovery from the KuppiS cannot be done.
| Thur | 2025-11-06 | Morning | 7:48 | 7:40 | 7:48 | 1 | 0.54 | 0.42 | 7.72 | NA | 8.01 | 7.92 | 30.3 | 30.326 | 33 | No cloud cover | No | No
CLEAN → | Thur | 2025-11-06 | Evening | 17:23 | 17:23 | 17:23 | 9.7 | 9.73 | 5.59 | 8.03 | 8.73 | 8.18 | 8.05 | 31.5 | 31.67 | 39 | No cloud cover | Yes | Yes: by us | pH pen data collection
| Fri | 2025-11-07 | Morning | 10:25 | 10:25 | 10:26 | 4.2 | 4.06 | 1.88 | 7.89 | 8.51 | 8.06 | 8.02 | 30.4 | 30.57 | 32 | No cloud cover | No | No | Satellite flyover at 10:30 AM. Handover to Manikanta.
| Fri | 2025-11-07 | Evening | 17:11 | 17:10 | ? | 14.5 | 13.4 | ? | 8.2 | 8.9 | 8.28 | ? | 31.9 | 32.22 | ? | No cloud cover | No | No | Due to a power outage at the pond in the evening, the Wi-Fi went off, causing the Continuous Monitor Company #2 sensors to stop working.
CLEAN → | Sat | 2025-11-08 | Morning | 7:42 | 7:41 | 7:44 | 1.1 | 0.69 | 0.84 | 7.82 | 8.46 | 7.98 | 7.94 | 30.2 | 30.31 | 32 | No cloud cover | Yes | Yes: by farm worker
| Sat | 2025-11-08 | Evening | 17:13 | 17:12 | 17:14 | 12.7 | 13.81 | 14.68 | 8.17 | 8.84 | 8.3 | 8.28 | 31.4 | 31.54 | 35 | No cloud cover | No | No | Need to verify the Continuous Monitor Company #2 data sheet, at the pond I (mani) refreshed in the Continuous Monitor Company #2 app (Count 366) next, I took a screenshot at a similar time to Kuppi, but data saving after two min in Count 366.
| Sun | 2025-11-09 | Morning | 7:43 | 7:44 | 7:44 | 1.4 | 1.57 | 1.68 | 7.86 | 8.53 | 8.02 | 7.98 | 29.4 | 29.56 | 31 | No cloud cover | No | No
| Sun | 2025-11-09 | Evening | 17:14 | 17:15 | 17:14 | 13.3 | 14.59 | 15.51 | 8.17 | 9.01 | 8.33 | 8.24 | 31 | 31.09 | 32 | No cloud cover | No | No
CLEAN → | Mon | 2025-11-10 | Morning | 7:46 | 7:46 | 7:44 | 1 | 1.07 | 1.21 | 7.85 | 8.57 | 8 | 7.98 | 29.1 | 29.18 | 30.33 | No cloud cover | Yes | Yes: by farm worker | Satellite flyover at 10:30 AM / Today missed to collect satellite data. /Pro DSS calibrated today
| Mon | 2025-11-10 | Evening | 17:02 | 17:02 | 16:59 | 13.2 | 12.01 | 16.3 | 8.32 | 8.85 | 8.3 | 8.3 | 30.5 | 30.61 | 31.97 | No cloud cover | No | No
| Tue | 2025-11-11 | Morning | 8:05 | 8:05 | 8:14 | 0.7 | 0.81 | 0.9 | 8.02 | 8.53 | 7.98 | 7.96 | 29 | 29.16 | 30.49 | No cloud cover | No | No
| Tue | 2025-11-11 | Evening | 17:21 | 17:21 | 17:14 | 8.8 | 7.65 | 9.05 | 8.18 | 8.38 | 8.15 | 8.16 | 30.9 | 30.97 | 32.35 | No cloud cover | No | No
CLEAN → | Wed | 2025-11-12 | Morning | 7:52 | 7:52 | 7:57 | 0.6 | 0.33 | 0.69 | 7.97 | 8.14 | 7.93 | 7.92 | 29.2 | 29.29 | 30.54 | No cloud cover | Yes | Yes: by farm worker
| Wed | 2025-11-12 | Evening | 17:08 | 17:08 | 17:14 | 3.4 | 4.39 | 4.53 | 8.02 | 8.31 | 8.04 | 8.03 | 30.6 | 30.95 | 32.23 | No cloud cover | No | No
| Thur | 2025-11-13 | Morning | 8:10 | 8:09 | 8:14 | 0.7 | 0.29 | 0.8 | 7.94 | 8.35 | 7.93 | 7.91 | 29 | 29.16 | 30.44 | No cloud cover | No | No | This morning, the Kuppi device showed a DO of 0.28, Pro DSS and Continuous Monitor Company #2 showed DO 0.7, yet the fish showed no signs of stress.
| Thur | 2025-11-13 | Evening | 17:25 | 17:25 | 17:29 | 6.8 | 6.43 | 6.76 | 8.09 | 9.05 | 8.06 | 8.06 | 30.5 | 30.63 | 31.99 | No cloud cover | No | No | Mani and Vivek checked the Kuppi's pH accuracy with Pro DSS pH calibration liquids (7,4,10)
CLEAN → | Fri | 2025-11-14 | Morning | 8:10 | 8:10 | 8:14 | 1.2 | 0.57 | 0.99 | 7.95 | 8.24 | 7.92 | 7.89 | 28.2 | 28.35 | 29.66 | No cloud cover | No | No | No cleaning happened in the morning because farmer was busy and he wanted to do by himself Continuous Monitor Company #2Pro cleaning, and PH pen 12 is calibrated.
| Fri | 2025-11-14 | Evening | 17:11 | 17:11 | 17:14 | 9.1 | 6.87 | 10.26 | 8.11 | 8.06 | 8.1 | 8.09 | 29.2 | 29.36 | 30.46 | No cloud cover | Yes | Yes: by farm worker
| Sat | 2025-11-15 | Morning | 10:27 | 10:28 | 10:29 | 3.1 | 1.82 | 2.83 | 7.99 | 8.12 | 7.99 | 7.94 | 27.9 | 28.08 | 29.38 | No cloud cover | No | No | We ran a 11-hour comparison test b/w ProDSS vs Continuous Monitor Company #2Pro vs Continuous Monitor Company #1
| Sat | 2025-11-15 | Evening | 16:57 | 16:58 | 16:59 | 10.3 | 10:18 | 11.72 | 8.18 | 8.17 | 8.19 | 8.13 | 28.9 | 28.97 | 30.32 | No cloud cover | No | No
CLEAN → | Sun | 2025-11-16 | Morning | [13 empty] | Select | Select | Select
| Sun | 2025-11-16 | Evening | [13 empty] | Select | Select | Select